VICTORIA UNIVERSITY DXA RESEARCH PROJECT CHECKLIST

Name: ……………………………………………………………       Staff/Student ID:………………………….

Project Code: …………………………………………………………………..

| Checklist | Completed Yes/No/NA | Comment |
| --- | --- | --- |
| 1. If performing scans on the iDXA obtain a User License from the Department of Health and Human Services. Application and notification forms - health.vic Please forward a copy to the RSO and Technical Manager. |  |  |
| 2. Training to be completed at : https://www.anzbms.org.au/ Please forward a copy to the RSO and Technical Manager. |  |  |
| 3. Obtain a Medical Physicist Report. Contact the Technical Manager for a copy of the form and contact details of medical physicist. NOTE: If the Medical Physicists Report states that, the radiation doses will exceed the dose constraints then contact the RSO. Dose exceeded form http://docs.health.vic.gov.au/docs/doc/Notification-of-a-research-project-where-the-dose-constraints-will-be-exceeded |  |  |
| 4. Complete the Victoria Specific Module (VSM) and Section 4 ‘Use of Ionising Radiation’ Forms https://www2.health.vic.gov.au/about/publications/formsandtemplates/Victorian%20Specific%20Module https://www2.health.vic.gov.au/about/publications/formsandtemplates/Section-4---Use-of-ionising-radiation For guidelines on completion https://www2.health.vic.gov.au/about/publications/formsandtemplates/Victorian%20Specific%20Module%20Guidelines NOTE: Upon completion contact the RSO to review documentation and sign off ‘Section 4.10’ prior to submission to VUHREC. |  |  |
| 5. Complete the VUHREC application. http://research.vu.edu.au/HRE_approvals.php Forward to Victoria University’s ‘Human Research Ethics Committee’ HREC for approval. NOTE: A copy of the Approval Letter from the HREC must be forwarded to the RSO and Technical Manager. |  |  |
| 6. Complete and provide Risk Assessment and Standard Operating Procedure to the RSO and Technical Manager. |  |  |
| 7. Obtain the OSL monitor for use in the iDXA. Contact the RSO. |  |  |
| 8. Contact the Technical Manager to complete local induction and local training on operation of the iDXA. |  |  |

NB: All requirements must be met and documentation submitted to the RSO and Technical Manager prior to commencing research work using the iDXA.

CONTACTS

Tom Dziedzicki

Radiation Safety Officer

People and Culture

Ph: 9919 5999

Email: tom.dziedzicki@vu.edu.au

Samantha Cassar

Technical Manager

College of Sport and Exercise Science

Ph: 9919 5680

Email: samantha.cassar@vu.edu.au

I, _______________________________________________   have:

(Print Name)

Completed DEXA/Bone Mineral Densitometry Local Induction procedures applicable to my research;

I understand that depending on my project, additional training may be required and that I will be bound by the University Occupational Health and Safety Department and Institutional Biosafety Committee training requirements.

| Signature of Staff/Student |  | Date |
| --- | --- | --- |
| Signature of Trainer |  | Date |
| Signature of RSO |  | Date |