VICTORIA UNIVERSITY DXA RESEARCH PROJECT CHECKLIST

Name: ……………………………………………………………       Staff/Student ID:………………………….

Project Code: …………………………………………………………………..

| Checklist | Completed Yes/No/NA | Details |
| --- | --- | --- |
| - Identify person (s) who will be performing the DXA scan. They MUST have a current ‘Use’ license from the Victorian Department of Health. If new persons require licensing, application forms are available at: https://www.health.vic.gov.au/radiation/bone-mineral-densitometer-operators Training can be completed at: https://www.anzbms.org.au/ Please advise of Use Licence holder and expiry date to the RSO and Technical Manager. |  |  |
| 2.. Obtain a Medical Physicist Report. Contact the Technical Manager for a copy of the form and contact details of suitable medical physicist. Information to be provided will include: - The research protocols - Location in which exposures will be undertaken; The medical Physics report should include a completed Medical Physics Risk Assessment Interventional, Diagnostic & Nuclear Medicine Procedures (MPRA) form. |  |  |
| - Does the Medical Physicists Report state that radiation doses will exceed the dose constraints? If ‘yes’ a report from a second Medical Physicist will be required. If expected doses constraints are still exceeded a form will need to be provided to the DoH: https://www.health.vic.gov.au/publications/notification-of-a-research-project-where-the-dose-constraints-will-be-exceeded |  |  |
| 4. Ensure the Victoria Specific Module (VSM) Section 1-3 and Section 4 ‘Use of Ionising Radiation’ Forms have been completed: https://www.clinicaltrialsandresearch.vic.gov.au/downloads https://www.health.vic.gov.au/publications/section-4-use-of-ionising-radiation For guidelines on completion https://www.clinicaltrialsandresearch.vic.gov.au/__data/assets/pdf_file/0018/171027/victorian-specific-module-guidelines-Oct-2021.pdf and for Section 4: https://www.alfredhealth.org.au/contents/resources/research/Section-4--guidelines.pdf |  |  |
| 5. Provide documentation including Medical Physicist report and Section 4 ‘Use of Ionising Radiation’ Forms to RSO for review and sign off of ‘Section 4.10’ prior to submission to VUHREC. |  |  |
| 6. Complete the VUHREC application. http://research.vu.edu.au/HRE_approvals.php Forward to Victoria University’s ‘Human Research Ethics Committee’ HREC for approval. NOTE: A copy of the Approval Letter from the HREC must be forwarded to the RSO and Technical Manager. |  |  |
| 7. Complete and provide Risk Assessment and Standard Operating Procedure to the RSO and Technical Manager. |  |  |
| 8. Use licence operator(s) has the appropriate OSL monitor for use whilst operating the iDXA. Contact the Technical Manager if required. |  |  |
| 9. Local induction and local training on operation of the iDXA has been completed. Contact the Technical Manager |  |  |

NB: All requirements must be met and documentation submitted to the RSO and Technical Manager prior to commencing research work using the iDXA.

CONTACTS

Darren Billingsley

Radiation Safety Officer

Email: Darren.Billingsley@vu.edu.au

Dr. Collene Steward

Technical Manager

Ph: 9919 4111

Email: Collene.Steward@vu.edu.au

I, _______________________________________________   have:

(Print Name)

Completed DEXA/Bone Mineral Densitometry Local Induction procedures applicable to my research;

I understand that depending on my project, additional training may be required and that I will be bound by the University Occupational Health and Safety Department and Institutional Biosafety Committee training requirements.

| Signature of Staff/Student |  | Date |
| --- | --- | --- |
| Signature of Trainer |  | Date |
| Signature of RSO |  | Date |