Lab User Information

Name: ……………………………………………………   Staff or Student Number: ………………………………

For all students please obtain the signature of your Supervisor.

Supervisor’s name:  …………………………………………….…………………………………..

Supervisor’s signature………………………………………………………………..  Date: ……………………

| TASK | COMPLETION (Y/N) |
| --- | --- |
| Identify |  |
| University RSO: Contact Details / Office location |  |
| Closest Emergency Exists / Emergency Contact Information |  |
| Closest Eye Wash Stations / First Aid Kit / Spill Kit / Emergency Alarm |  |
| Access Rights: - Arrangement of FOB Access to Radiation Laboratory - Use of OSL monitors location and storage |  |
| Hazard Awareness: - Equipment operation (burns, injury) - Isotopes/other radiation sources - Equipment taken out of radiation lab needs to be tested and cleaned. |  |
| Specialist PPE: - Lead aprons - Perspex/lead shielding |  |
| Understand how to: |  |
| Access, return and use OSL Monitors |  |
| Perform Risk Assessments; - To be performed by User, approved by Supervisor and submitted to RSO or Technical Manager. - Specific use of equipment and isotope - Review controls, shielding and contamination monitoring - Waste minimization and disposal |  |
| Complete Standard Operating Procedures (SOP); - Each experimental technique performed requires an SOP |  |
| Dispose of waste; - Radioactive waste - Laboratory waste streams |  |
| Book Laboratory Space & Equipment |  |
| Correctly use log books to record the use of isotopes |  |
| Use designated radiation work zone |  |
| Perform contamination monitoring |  |
| Decontaminate radioactive spillages |  |
| Report Incidents; - Must report and incident, near miss or hazard - Contact Technical Manager and RSO immediately |  |
| Provide: |  |
| A copy of ‘Safety Radiation Training Certificate to Technical Manager |  |
| Confirm you understand that: |  |
| You are only permitted to engage in activities/experiments in the Radiation Laboratory once you have completed; - The Radiation Laboratory Induction. - Competency based Radiation Training Course - Submitted approved SOP and RA to the TM or RSO |  |
| You require additional protocol training for specific pieces of scientific equipment, to be arranged with the Technical Manager |  |
| You are not permitted to allow any peers assist with data collection or laboratory experimentation without; - Consulting your supervisor. - All Individuals must complete Biochemistry and Radiation Laboratory Inductions. |  |

I, 	       		                                   	         have:

(Print Name)

Completed the Radiation Laboratory Induction;

Completed the Biochemistry Laboratory Induction;

Read & understood the Radiation Laboratory Facility Manual;

Read & understood the VU Radiation Management Procedure;

I understand that depending on my project, additional training may be required and that I am bound by the University Biosafety Committee training and OHS requirements.

| Signature of Staff/Student |  | Date: |
| --- | --- | --- |
| Name and Signature of Trainer |  | Date: |
| Name and Signature of Radiation Safety Officer |  | Date: |

* Personnel are encouraged to make an appointment with their supervisor within 3 months after their induction to discuss any new issues that may have arisen

*A copy of this document must be provided to the Technical Manager